### Purpose

The purpose of this skill station is to re-enforce the learner’s ability to successfully place a needle cricothyrotomy.

### Objectives

- The learner will be able to recognize the need to insert a needle cricothyrotomy.

- The learner will engage in hands-on practice of placing a needle cricothyrotomy.

- After completing the skill station, the learner will have the ability to insert a needle cricothyrotomy in a patient requiring an emergent airway.

### Evaluation

The instructor will evaluate the learner’s performance in completing the skill. The learner should be able to recognize a patient's needs for an emergent airway. Once recognized the learner will need to adequately place a needle cricothyrotomy.

### Instructor Information

This skill station is designed to help the learner practice the skill of placing a needle cricothyrotomy. It is important for the instructor to be knowledgeable with the manufacturer recommendations for the device used by the agency. If no commercial device is used the instructor should have knowledge of the supplies that are required and how to obtain them. Please feel free to modify any performance steps to meet the recommendations.

(Image https://veteriankey.com/cricothyrotomy-and-percutaneous-translaryngeal-ventilation/#f0015)

### Equipment

- Needle/Syringe (Size 14g)

- 3 ml syringe (with saline)

- 3.0 ETT Tube adapter

- Training device to accept needle cricothyrotomy

- Extension set to connect to oxygen

- Oxygen tubing

- Oxygen source

- 3-way-stopcock

### Performance Steps

- Assemble equipment

- Identify site by palpating the cricothyroid membrane

- Utilizing aseptic technique, pierce the membrane with an angiocath at a 30–45-degree angle.

- Draw back on the syringe as you enter and advance until air begins to fill the syringe.

- Advance until the hub is seated against the skin.

- Remove needle

- Attach a 3.0 ETT tube adapter directly to angiocath

- Attach BVM or oxygen system and ventilate

- Secure needle in place

### Tips and Tricks

- Understanding the landmarks is essential for instructors.

- Review all the anatomy and what the learners should be feeling and seeing.

- Poor Man Jet Ventilator Trick: https://www.youtube.com/watch?v=G14-ygk_gWY